## KEK_constants
Unit	Date	validated	used_for_range	DAC_VOLTAGE_GAIN_0	DAC_VOLTAGE_OFFSET_0	ADC_U_LOAD_GAIN_0	ADC_U_LOAD_OFFSET_0	ADC_U_REGULATOR_GAIN_0	ADC_U_REGULATOR_OFFSET_0	ADC_I_MON_GAIN_0	ADC_I_MON_OFFSET_0	DAC_CURRENT_GAIN_0	DAC_CURRENT_OFFSET_0	DAC_VOLTAGE_GAIN_1	DAC_VOLTAGE_OFFSET_1	ADC_U_LOAD_GAIN_1	ADC_U_LOAD_OFFSET_1	ADC_U_REGULATOR_GAIN_1	ADC_U_REGULATOR_OFFSET_1	ADC_I_MON_GAIN_1	ADC_I_MON_OFFSET_1	DAC_CURRENT_GAIN_1	DAC_CURRENT_OFFSET_1	DAC_VOLTAGE_GAIN_2	DAC_VOLTAGE_OFFSET_2	ADC_U_LOAD_GAIN_2	ADC_U_LOAD_OFFSET_2	ADC_U_REGULATOR_GAIN_2	ADC_U_REGULATOR_OFFSET_2	ADC_I_MON_GAIN_2	ADC_I_MON_OFFSET_2	DAC_CURRENT_GAIN_2	DAC_CURRENT_OFFSET_2	DAC_VOLTAGE_GAIN_3	DAC_VOLTAGE_OFFSET_3	ADC_U_LOAD_GAIN_3	ADC_U_LOAD_OFFSET_3	ADC_U_REGULATOR_GAIN_3	ADC_U_REGULATOR_OFFSET_3	ADC_I_MON_GAIN_3	ADC_I_MON_OFFSET_3	DAC_CURRENT_GAIN_3	DAC_CURRENT_OFFSET_3	DAC_VOLTAGE_GAIN_4	DAC_VOLTAGE_OFFSET_4	ADC_U_LOAD_GAIN_4	ADC_U_LOAD_OFFSET_4	ADC_U_REGULATOR_GAIN_4	ADC_U_REGULATOR_OFFSET_4	ADC_I_MON_GAIN_4	ADC_I_MON_OFFSET_4	DAC_CURRENT_GAIN_4	DAC_CURRENT_OFFSET_4	DAC_VOLTAGE_GAIN_5	DAC_VOLTAGE_OFFSET_5	ADC_U_LOAD_GAIN_5	ADC_U_LOAD_OFFSET_5	ADC_U_REGULATOR_GAIN_5	ADC_U_REGULATOR_OFFSET_5	ADC_I_MON_GAIN_5	ADC_I_MON_OFFSET_5	DAC_CURRENT_GAIN_5	DAC_CURRENT_OFFSET_5	DAC_VOLTAGE_GAIN_6	DAC_VOLTAGE_OFFSET_6	ADC_U_LOAD_GAIN_6	ADC_U_LOAD_OFFSET_6	ADC_U_REGULATOR_GAIN_6	ADC_U_REGULATOR_OFFSET_6	ADC_I_MON_GAIN_6	ADC_I_MON_OFFSET_6	DAC_CURRENT_GAIN_6	DAC_CURRENT_OFFSET_6	DAC_VOLTAGE_GAIN_7	DAC_VOLTAGE_OFFSET_7	ADC_U_LOAD_GAIN_7	ADC_U_LOAD_OFFSET_7	ADC_U_REGULATOR_GAIN_7	ADC_U_REGULATOR_OFFSET_7	ADC_I_MON_GAIN_7	ADC_I_MON_OFFSET_7	DAC_CURRENT_GAIN_7	DAC_CURRENT_OFFSET_7	DAC_VOLTAGE_GAIN_8	DAC_VOLTAGE_OFFSET_8	ADC_U_LOAD_GAIN_8	ADC_U_LOAD_OFFSET_8	ADC_U_REGULATOR_GAIN_8	ADC_U_REGULATOR_OFFSET_8	ADC_I_MON_GAIN_8	ADC_I_MON_OFFSET_8	DAC_CURRENT_GAIN_8	DAC_CURRENT_OFFSET_8	DAC_VOLTAGE_GAIN_9	DAC_VOLTAGE_OFFSET_9	ADC_U_LOAD_GAIN_9	ADC_U_LOAD_OFFSET_9	ADC_U_REGULATOR_GAIN_9	ADC_U_REGULATOR_OFFSET_9	ADC_I_MON_GAIN_9	ADC_I_MON_OFFSET_9	DAC_CURRENT_GAIN_9	DAC_CURRENT_OFFSET_9	DAC_VOLTAGE_GAIN_10	DAC_VOLTAGE_OFFSET_10	ADC_U_LOAD_GAIN_10	ADC_U_LOAD_OFFSET_10	ADC_U_REGULATOR_GAIN_10	ADC_U_REGULATOR_OFFSET_10	ADC_I_MON_GAIN_10	ADC_I_MON_OFFSET_10	DAC_CURRENT_GAIN_10	DAC_CURRENT_OFFSET_10	DAC_VOLTAGE_GAIN_11	DAC_VOLTAGE_OFFSET_11	ADC_U_LOAD_GAIN_11	ADC_U_LOAD_OFFSET_11	ADC_U_REGULATOR_GAIN_11	ADC_U_REGULATOR_OFFSET_11	ADC_I_MON_GAIN_11	ADC_I_MON_OFFSET_11	DAC_CURRENT_GAIN_11	DAC_CURRENT_OFFSET_11	DAC_VOLTAGE_GAIN_12	DAC_VOLTAGE_OFFSET_12	ADC_U_LOAD_GAIN_12	ADC_U_LOAD_OFFSET_12	ADC_U_REGULATOR_GAIN_12	ADC_U_REGULATOR_OFFSET_12	ADC_I_MON_GAIN_12	ADC_I_MON_OFFSET_12	DAC_CURRENT_GAIN_12	DAC_CURRENT_OFFSET_12	DAC_VOLTAGE_GAIN_13	DAC_VOLTAGE_OFFSET_13	ADC_U_LOAD_GAIN_13	ADC_U_LOAD_OFFSET_13	ADC_U_REGULATOR_GAIN_13	ADC_U_REGULATOR_OFFSET_13	ADC_I_MON_GAIN_13	ADC_I_MON_OFFSET_13	DAC_CURRENT_GAIN_13	DAC_CURRENT_OFFSET_13	DAC_VOLTAGE_GAIN_14	DAC_VOLTAGE_OFFSET_14	ADC_U_LOAD_GAIN_14	ADC_U_LOAD_OFFSET_14	ADC_U_REGULATOR_GAIN_14	ADC_U_REGULATOR_OFFSET_14	ADC_I_MON_GAIN_14	ADC_I_MON_OFFSET_14	DAC_CURRENT_GAIN_14	DAC_CURRENT_OFFSET_14	DAC_VOLTAGE_GAIN_15	DAC_VOLTAGE_OFFSET_15	ADC_U_LOAD_GAIN_15	ADC_U_LOAD_OFFSET_15	ADC_U_REGULATOR_GAIN_15	ADC_U_REGULATOR_OFFSET_15	ADC_I_MON_GAIN_15	ADC_I_MON_OFFSET_15	DAC_CURRENT_GAIN_15	DAC_CURRENT_OFFSET_15	DAC_VOLTAGE_GAIN_16	DAC_VOLTAGE_OFFSET_16	ADC_U_LOAD_GAIN_16	ADC_U_LOAD_OFFSET_16	ADC_U_REGULATOR_GAIN_16	ADC_U_REGULATOR_OFFSET_16	ADC_I_MON_GAIN_16	ADC_I_MON_OFFSET_16	DAC_CURRENT_GAIN_16	DAC_CURRENT_OFFSET_16	DAC_VOLTAGE_GAIN_17	DAC_VOLTAGE_OFFSET_17	ADC_U_LOAD_GAIN_17	ADC_U_LOAD_OFFSET_17	ADC_U_REGULATOR_GAIN_17	ADC_U_REGULATOR_OFFSET_17	ADC_I_MON_GAIN_17	ADC_I_MON_OFFSET_17	DAC_CURRENT_GAIN_17	DAC_CURRENT_OFFSET_17	DAC_VOLTAGE_GAIN_18	DAC_VOLTAGE_OFFSET_18	ADC_U_LOAD_GAIN_18	ADC_U_LOAD_OFFSET_18	ADC_U_REGULATOR_GAIN_18	ADC_U_REGULATOR_OFFSET_18	ADC_I_MON_GAIN_18	ADC_I_MON_OFFSET_18	DAC_CURRENT_GAIN_18	DAC_CURRENT_OFFSET_18	DAC_VOLTAGE_GAIN_19	DAC_VOLTAGE_OFFSET_19	ADC_U_LOAD_GAIN_19	ADC_U_LOAD_OFFSET_19	ADC_U_REGULATOR_GAIN_19	ADC_U_REGULATOR_OFFSET_19	ADC_I_MON_GAIN_19	ADC_I_MON_OFFSET_19	DAC_CURRENT_GAIN_19	DAC_CURRENT_OFFSET_19	DAC_VOLTAGE_GAIN_20	DAC_VOLTAGE_OFFSET_20	ADC_U_LOAD_GAIN_20	ADC_U_LOAD_OFFSET_20	ADC_U_REGULATOR_GAIN_20	ADC_U_REGULATOR_OFFSET_20	ADC_I_MON_GAIN_20	ADC_I_MON_OFFSET_20	DAC_CURRENT_GAIN_20	DAC_CURRENT_OFFSET_20	DAC_VOLTAGE_GAIN_21	DAC_VOLTAGE_OFFSET_21	ADC_U_LOAD_GAIN_21	ADC_U_LOAD_OFFSET_21	ADC_U_REGULATOR_GAIN_21	ADC_U_REGULATOR_OFFSET_21	ADC_I_MON_GAIN_21	ADC_I_MON_OFFSET_21	DAC_CURRENT_GAIN_21	DAC_CURRENT_OFFSET_21	DAC_VOLTAGE_GAIN_22	DAC_VOLTAGE_OFFSET_22	ADC_U_LOAD_GAIN_22	ADC_U_LOAD_OFFSET_22	ADC_U_REGULATOR_GAIN_22	ADC_U_REGULATOR_OFFSET_22	ADC_I_MON_GAIN_22	ADC_I_MON_OFFSET_22	DAC_CURRENT_GAIN_22	DAC_CURRENT_OFFSET_22	DAC_VOLTAGE_GAIN_23	DAC_VOLTAGE_OFFSET_23	ADC_U_LOAD_GAIN_23	ADC_U_LOAD_OFFSET_23	ADC_U_REGULATOR_GAIN_23	ADC_U_REGULATOR_OFFSET_23	ADC_I_MON_GAIN_23	ADC_I_MON_OFFSET_23	DAC_CURRENT_GAIN_23	DAC_CURRENT_OFFSET_23
34	2023-04-26	no	no	10011	216	4643	-945	10002	-1031	-9996	-253	-10068	-498	10012	186	4644	-972	10002	-992	-150148	3413	-666	65	10010	202	4643	-966	9997	-955	-9928	-361	-10158	-125	10012	213	4645	-977	10001	-1035	-9922	-862	-10120	-1246	10015	241	4643	-630	9996	-642	-10000	-196	-10030	323	20026	317	4646	-644	4577	-710	-150462	8792	-668	136	10015	169	4648	-631	9999	-588	-10003	129	-10019	543	10016	239	4630	-661	10002	-665	-10007	-1025	9861	499	-41586	641343	2757	-497	1889	-446	-296852	226	659	-38	-41591	641633	2757	-571	1888	-547	-296924	-21	662	-41	-41594	641732	2757	-484	1889	-523	-296894	-181	657	-35	-41597	641635	2756	-481	1889	-526	-297276	-822	658	-30	21973	575	2605	-830	2590	-826	-296498	-1368	-668	26	-233086	-5094	431	393	429	-135	-1195	250	96771	113666	-21470	-496	2604	-782	2590	-795	-295993	-419	665	-27	43865	957	1818	-930	1808	-941	-295807	-1242	-673	-24	-41584	641050	2762	-163	3053	-171	-295749	-673	666	38	-41574	640873	2761	-191	3053	-186	-295556	-569	665	-52	-41576	641149	2762	-156	3053	-220	-295723	650	663	1	-41565	641002	2762	-139	3053	-286	-295315	1749	661	12	55681	1120	1479	-695	1479	-753	-294666	-1128	-679	32	-43041	-863	2554	-574	2554	-653	-294612	-541	660	-65	-43048	-918	2555	-503	2555	-653	-294204	89	662	10	55699	883	1479	-680	1479	-704	-294389	-701	-674	-58
35	2023-05-01	yes	no	10014	171	4646	-607	9996	-658	-9975	138	-10102	-892	10014	155	4647	-620	10002	-675	-150111	3831	-674	68	10015	161	4645	-597	9999	-659	-9968	-724	-10122	600	10015	198	4643	-614	10004	-666	-10011	-408	-10060	-956	10014	188	4640	-985	9986	-961	-9926	-522	-10115	1153	20020	294	4640	-958	4574	-1070	-149985	8388	-671	41	10013	188	4642	-1009	9993	-1021	-9981	-241	-9990	-78	10015	216	4633	-1125	9993	-1101	-9965	-191	9940	327	-41599	641621	2756	-284	1888	-322	-296817	-387	658	24	-41607	641509	2757	-318	1888	-311	-295971	715	659	32	-41595	641600	2757	-322	1889	-308	-296559	408	661	64	-41605	641500	2757	-316	1889	-313	-296868	1475	658	-39	21966	317	2607	-902	2591	-889	-296183	-620	-673	19	-232911	-5585	431	-52	432	-288	-1193	642	97415	109990	-21468	-417	2605	-799	2591	-833	-296083	696	669	-20	43852	679	1818	-1028	1807	-952	-296127	-2708	-672	64	-41567	640999	2756	-533	3047	-600	-295093	300	665	3	-41577	641028	2756	-557	3047	-583	-294504	277	664	-51	-41572	640649	2757	-516	3048	-545	-295324	-679	662	-16	-41574	640904	2756	-549	3047	-629	-294731	58	660	23	55738	963	1483	-487	1483	-552	-295654	535	-673	-24	-43060	-767	2561	-391	2559	-485	-295453	-134	658	-10	-43064	-787	2561	-347	2559	-519	-295653	-744	661	42	55715	926	1483	-484	1483	-605	-295494	-424	-673	-20
37	2023-04-25	yes	no	10017	133	4644	-727	10000	-669	-10034	-122	-9987	-225	10018	102	4645	-726	10003	-744	-150358	3564	-670	127	10016	150	4645	-712	10000	-680	-10021	-205	-10027	474	10022	182	4651	-756	10011	-780	-9963	-765	-10090	-682	10016	152	4640	-452	9995	-442	-9988	-26	-10063	282	20025	393	4644	-476	4575	-577	-150069	9168	-668	116	10013	149	4643	-466	9994	-518	-10016	72	-10045	-232	10015	221	4669	-1001	9998	-538	-10012	-366	9895	277	-41572	641005	2758	-899	1889	-915	-296563	-496	658	3	-41571	641212	2757	-896	1889	-850	-296203	-1087	661	23	-41580	641059	2757	-866	1889	-875	-296526	69	659	33	-41578	641178	2758	-863	1888	-889	-295779	-317	662	52	21979	431	2609	-786	2593	-865	-296868	895	-673	-6	-233101	-4828	432	-1117	431	-76	-1197	4470	96854	120730	-21479	-424	2608	-698	2593	-727	-296486	281	667	28	43857	794	1820	-801	1809	-792	-296398	-141	-669	-38	-41554	640466	2758	-326	3048	-353	-295012	-512	663	-21	-41563	640987	2758	-323	3049	-352	-295108	45	658	-41	-41559	640530	2759	-326	3048	-346	-295105	1013	660	5	-41562	640702	2758	-317	3049	-334	-294978	-898	659	-31	55688	844	1481	-559	1481	-668	-294788	-41	-677	-11	-43053	-908	2558	-424	2557	-536	-295304	37	658	63	-43041	-779	2556	-511	2556	-559	-295191	361	657	-28	55674	1040	1481	-553	1481	-695	-295183	2161	-668	8
38	2023-04-27	no	no	10016	109	4636	-863	10000	-1017	-10006	121	-10101	586	10015	96	4645	-975	9999	-954	-150030	3692	-670	41	10017	208	4646	-939	10001	-1033	-10035	-478	-10036	-29	10018	100	4652	-1013	9995	-958	-9975	-229	-10082	-562	10016	161	4645	-774	9978	-805	-9959	8	-10010	438	20031	291	4638	-739	4569	-767	-150016	8388	-666	108	10014	209	4637	-756	9986	-816	-9992	-519	-10082	149	10015	230	4635	-987	9987	-798	-9929	-549	9968	80	-41599	641602	2758	-550	1888	-615	-296419	154	660	-9	-41608	641445	2756	-586	1888	-604	-296169	-582	660	-26	-41608	641600	2756	-582	1887	-649	-296735	284	656	68	-41605	641421	2756	-575	1888	-570	-296014	-488	655	-27	21958	393	2610	-722	2595	-715	-296772	-470	-673	44	-232989	-4121	434	1112	432	-69	-1196	3832	96449	114756	-21472	-357	2608	-520	2594	-567	-296014	-662	666	-37	43850	623	1821	-677	1810	-674	-297625	415	-669	12	-41578	640979	2747	-628	3037	-729	-293920	-72	662	40	-41603	641129	2747	-728	3037	-779	-293580	0	660	-16	-41587	641197	2748	-696	3037	-789	-293995	-1061	664	2	-41571	640790	2747	-723	3037	-712	-293813	-336	663	-17	55653	992	1480	-736	1481	-707	-294710	-14	-678	93	-43015	-997	2556	-686	2556	-580	-294888	-1572	665	0	-43015	-961	2556	-618	2556	-640	-295060	-68	661	39	55665	1037	1481	-716	1481	-745	-294976	165	-674	-111
39	2023-04-27	no	no	10017	211	4644	-523	9989	-612	-9949	-99	-10143	93	10014	135	4639	-558	9994	-596	-150067	3680	-668	20	10014	145	4640	-496	9989	-533	-10011	17	-10048	816	10015	174	4642	-542	9992	-503	-9935	-384	-10137	299	10012	192	4640	-808	9987	-822	-9989	-339	-10047	-171	20022	415	4641	-759	4573	-884	-150144	8237	-669	63	10012	117	4642	-859	9989	-788	-9944	131	-9998	-246	10013	178	4644	-1129	9984	-768	-10000	-707	9894	458	-41593	641374	2758	-530	1889	-477	-296909	104	659	51	-41599	641508	2758	-476	1889	-473	-296866	83	657	-25	-41602	641544	2758	-498	1890	-537	-296696	107	656	-50	-41599	641521	2758	-608	1889	-556	-297019	439	662	-19	21966	3381	2608	-430	2593	-1098	-296124	-977	-674	22	-232986	-3752	434	1763	431	268	-1196	5851	98014	56587	-21471	-413	2607	-250	2592	-246	-296765	-953	667	33	43840	812	1820	-473	1809	-319	-296427	-934	-670	4	-41566	640847	2753	-578	3043	-611	-294706	70	661	-33	-41574	640871	2753	-592	3044	-610	-294327	26	662	35	-41572	640941	2753	-641	3043	-634	-294612	-1899	664	58	-41580	641078	2754	-594	3043	-595	-294356	-1668	666	-5	55716	922	1480	-800	1480	-844	-294419	-1046	-677	41	-43034	-965	2557	-672	2555	-831	-294560	-716	660	-7	-43052	-990	2556	-713	2555	-739	-295107	-178	659	-69	55713	782	1480	-820	1480	-900	-294974	781	-669	-2
41	2023-07-26	yes	no	10013	227	4641	-1078	9980	-956	-10005	-527	-10041	-446	10014	202	4638	-956	9984	-1011	-149769	3192	-672	72	10015	119	4639	-951	9989	-1079	-9905	-846	-10173	545	10015	216	4638	-960	9980	-980	-9893	-468	-10216	483	10016	212	4648	-917	9996	-954	-10020	-467	-10073	760	20033	293	4643	-913	4578	-1046	-150574	8008	-665	150	10015	235	4642	-911	9996	-944	-10023	-451	-10006	125	10015	204	4661	-1398	9995	-978	-9922	-756	9949	458	-41592	641386	2756	-641	1888	-628	-295720	64	658	-43	-41605	641409	2756	-603	1888	-561	-295951	-155	660	-59	-41596	641780	2756	-649	1889	-610	-296030	317	653	-6	-41589	641590	2756	-648	1888	-594	-296592	967	659	46	21976	488	2607	-652	2593	-692	-296717	-1203	-676	59	-233137	-5316	434	1311	430	-90	-1198	4688	96385	129318	-21466	-375	2608	-566	2593	-668	-297021	-168	666	-1	43856	719	1819	-734	1810	-793	-297494	206	-669	29	-41582	640912	2758	-301	3049	-410	-294967	1081	661	6	-41587	641240	2759	-280	3048	-382	-294879	-35	658	2	-41567	641013	2759	-280	3049	-336	-294739	-29	664	3	-41582	641091	2758	-390	3049	-369	-295149	-211	662	22	55692	1078	1482	-634	1482	-635	-295002	2112	-671	15	-43041	-932	2560	-543	2559	-505	-294924	-1176	665	14	-43060	-1002	2559	-571	2558	-475	-295209	1328	666	-34	55690	966	1483	-689	1482	-670	-295243	548	-670	65
45	2023-04-27	yes	no	10014	215	4638	-792	9991	-781	-9979	-409	-10054	417	10013	95	4640	-782	9991	-861	-149952	2889	-662	75	10015	203	4647	-868	9990	-863	-10028	-531	-9926	-429	10015	137	4645	-850	9990	-836	-9956	-426	-10172	990	10014	184	4641	-810	9991	-919	-10041	-528	-10048	-851	20030	381	4643	-850	4576	-878	-150056	8180	-670	37	10014	127	4646	-841	9997	-908	-10010	-513	-10038	-702	10015	234	4640	-1189	9996	-918	-9976	-274	9917	596	-41606	641729	2760	-539	1891	-475	-297026	-2147	657	-43	-41600	641599	2760	-511	1891	-513	-296616	-457	655	8	-41601	641883	2760	-481	1891	-521	-296948	909	657	0	-41595	641613	2760	-456	1891	-455	-296881	-734	657	-40	21965	469	2607	-648	2591	-627	-296197	-1302	-669	-8	-233007	-5311	430	683	430	28	-1197	2587	98491	49045	-21469	-326	2606	-550	2592	-479	-296174	-442	665	-35	43853	698	1818	-632	1808	-724	-295898	-2846	-670	0	-41558	640794	2756	-546	3047	-576	-294712	-526	661	-11	-41577	640740	2757	-521	3046	-563	-294899	-694	662	13	-41577	640801	2756	-544	3047	-558	-294944	218	663	-20	-41572	640993	2756	-515	3047	-645	-294843	-311	660	-9	55693	991	1481	-600	1481	-725	-295125	435	-670	42	-43038	-898	2558	-459	2558	-588	-294654	261	667	3	-43041	-948	2559	-500	2557	-607	-295279	-1120	658	-41	55682	1261	1482	-752	1482	-781	-294546	-1280	-676	4
50	2023-05-01	yes	no	10010	134	4642	-605	9982	-551	-9986	60	-10019	-284	10011	212	4639	-627	9990	-644	-149920	3675	-667	132	10012	100	4637	-555	9981	-572	-9999	-156	-10046	-289	10013	235	4639	-587	9986	-588	-9967	102	-10046	-410	10015	226	4642	-724	9998	-834	-9932	-663	-10096	-271	20027	376	4642	-717	4574	-791	-150044	8558	-674	71	10014	196	4641	-699	9989	-713	-9992	-223	-10033	-307	10012	170	4655	-1066	9994	-772	-9902	-805	9900	1277	-41588	641521	2758	-185	1889	-185	-296934	8	652	2	-41590	641316	2757	-205	1889	-202	-297052	-1276	665	7	-41592	641679	2757	-161	1889	-249	-296338	-204	661	-9	-41593	641223	2758	-204	1889	-225	-296456	-464	660	46	21968	398	2606	-709	2591	-755	-296629	-1799	-670	-16	-232867	-4403	433	318	436	-124	-1196	2220	96386	128275	-21479	-334	2605	-720	2590	-681	-296334	171	665	18	43851	728	1818	-801	1809	-841	-296583	-1611	-670	-86	-41604	641052	2759	-132	3049	-121	-295079	-84	664	-12	-41603	641203	2758	-107	3049	-107	-295096	1519	658	7	-41584	640895	2758	-94	3049	-135	-295152	559	664	-55	-41586	641184	2758	-68	3049	-81	-295593	-229	662	16	55702	922	1480	-692	1481	-748	-294882	791	-676	-34	-43044	-622	2557	-401	2555	-597	-295081	764	663	-7	-43069	-735	2557	-600	2556	-566	-294562	-267	669	-88	55710	1051	1481	-686	1480	-772	-294861	900	-674	35
52	2023-04-24	yes	no	10015	211	4649	-545	10001	-574	-9981	-117	-10031	-588	10014	159	4652	-588	10005	-605	-150147	3790	-671	143	10015	230	4650	-557	10001	-514	-9989	73	-9965	-196	10016	229	4646	-507	9999	-483	-9941	-285	-10148	478	10015	183	4646	-761	9995	-785	-9948	-621	-10151	173	20026	355	4645	-819	4575	-810	-150339	8891	-669	-17	10013	222	4646	-813	9992	-800	-9994	-662	-9970	-582	10012	160	4646	-1113	9991	-728	-9967	-564	9830	693	-41595	641649	2756	-536	1889	-445	-296399	395	660	-46	-41591	641577	2755	-526	1889	-489	-296723	1059	661	-15	-41595	641482	2757	-392	1888	-453	-296621	-1209	662	-40	-41585	641351	2757	-406	1889	-416	-296887	-943	660	-77	21962	473	2605	-704	2591	-689	-296468	-29	-672	-5	-232462	-4937	430	378	432	-162	-1195	4976	96000	119788	-21474	-479	2605	-530	2588	-616	-296271	327	667	-33	43858	721	1817	-580	1807	-576	-296174	-1458	-665	-26	-41591	640953	2757	-691	3047	-737	-294853	-630	666	-4	-41581	640915	2756	-660	3048	-768	-294318	-271	668	22	-41569	640770	2757	-701	3048	-669	-294949	-1122	665	-50	-41582	640870	2757	-716	3047	-721	-295075	2249	659	-12	55698	980	1481	-833	1481	-918	-295342	-189	-671	-6	-43041	-787	2557	-721	2556	-852	-295199	-1249	661	27	-43050	-936	2557	-760	2556	-814	-295353	-1492	661	-28	55705	810	1482	-903	1482	-931	-295650	2218	-674	6
53	2023-04-21	yes	no	10015	144	4642	-873	9987	-887	-10013	-49	-10047	-650	10015	209	4637	-866	9989	-912	-149972	3934	-669	111	10016	137	4642	-916	9989	-973	-10013	-365	-9992	-432	10014	179	4641	-849	9988	-926	-9975	-476	-10068	293	10018	144	4641	-822	9988	-885	-9999	-523	-10039	-119	20035	274	4644	-884	4576	-855	-149742	8943	-668	86	10015	172	4645	-883	9999	-946	-9948	-300	-10032	1342	10018	148	4637	-1021	10002	-958	-9925	-598	9994	176	-41593	641435	2759	-179	1890	-297	-297028	11	658	-1	-41589	641331	2759	-248	1891	-214	-297629	-62	650	-39	-41597	641359	2758	-241	1890	-267	-297049	-59	651	24	-41593	641514	2759	-259	1890	-269	-297065	-1224	660	-39	21973	554	2605	-506	2593	-598	-296664	412	-674	57	-233022	-5101	431	303	431	389	-1198	4915	96583	119954	-21475	-471	2605	-502	2591	-393	-296753	766	670	9	43865	703	1819	-593	1808	-591	-296680	1633	-666	-12	-41590	641220	2754	-870	3045	-869	-294967	-743	662	-6	-41579	640764	2754	-806	3045	-854	-294823	689	661	-1	-41589	641222	2755	-804	3045	-819	-294777	-968	663	-47	-41575	640905	2753	-832	3045	-858	-295381	-2341	660	26	55712	1056	1485	-626	1485	-592	-296102	-96	-674	-34	-43043	-799	2565	-425	2563	-498	-295758	296	659	35	-43057	-849	2564	-443	2562	-538	-295954	-744	666	22	55701	1007	1485	-655	1485	-620	-296249	2180	-668	13
60	2023-04-27	yes	no	10017	112	4644	-908	9999	-999	-9992	-771	-9968	-615	10017	137	4644	-912	9995	-997	-150028	3241	-671	119	10017	174	4640	-825	9994	-851	-9993	-538	-10042	232	10016	214	4647	-964	9995	-920	-10014	-577	-10053	-244	10016	208	4646	-582	9998	-560	-9949	-42	-10135	123	20029	387	4647	-631	4577	-646	-150037	9483	-673	116	10014	168	4647	-559	10000	-637	-10022	-72	-9998	650	10015	180	4655	-815	10000	-603	-9978	-191	9944	1122	-41592	641180	2755	-347	1887	-380	-296141	-660	658	42	-41597	641687	2755	-320	1887	-365	-296658	-373	666	-70	-41599	641728	2755	-350	1887	-306	-296345	-227	661	-20	-41598	641280	2755	-341	1888	-341	-296202	1516	660	2	21976	538	2607	-547	2591	-489	-297436	-105	-667	6	-232995	-4281	432	913	433	256	-1197	4243	95546	123762	-21460	-339	2606	-512	2593	-450	-296782	216	669	4	43863	891	1819	-571	1808	-508	-296702	427	-671	46	-41562	640645	2755	-779	3047	-808	-294779	-824	656	105	-41571	640687	2756	-727	3047	-812	-295204	-1213	660	-10	-41575	641054	2756	-762	3047	-798	-295050	-804	661	33	-41577	640962	2756	-778	3047	-794	-294870	-1509	659	-39	55659	1159	1482	-485	1482	-571	-295513	-646	-674	9	-43033	-716	2560	-376	2560	-407	-295182	-2394	663	38	-43064	-754	2557	-368	2559	-471	-294584	-510	666	11	55684	856	1482	-504	1483	-627	-295500	1852	-671	20
61	2023-04-24	yes	no	10014	175	4641	-707	9985	-713	-9943	-185	-10039	-475	10012	200	4638	-660	9981	-683	-149766	3648	-669	52	10011	113	4643	-664	9986	-725	-9924	-738	-10080	-1701	10014	163	4640	-636	9981	-669	-9909	-311	-10110	-413	10013	135	4645	-820	9986	-819	-10001	-332	-9943	-1212	20022	310	4643	-809	4576	-869	-149464	8019	-671	167	10013	139	4640	-793	10000	-886	-10031	-475	-10017	-313	10014	175	4657	-1335	9996	-883	-10003	-610	9817	717	-41609	641857	2756	-330	1888	-397	-296866	1095	655	22	-41607	641512	2757	-355	1888	-316	-296088	1247	664	-10	-41601	641452	2756	-355	1888	-315	-296357	-332	663	-53	-41603	641498	2756	-353	1888	-325	-296608	754	656	-19	21974	519	2609	-1098	2595	-1166	-296701	-1203	-673	-33	-233062	-5883	433	-775	433	-464	-1195	3741	96257	161173	-21478	-355	2607	-1014	2593	-1035	-296607	-1194	666	29	43853	743	1820	-1157	1809	-1201	-297222	-1170	-673	-41	-41566	640850	2755	-355	3046	-366	-294521	-491	666	42	-41556	640568	2756	-313	3046	-463	-294972	-1560	657	-18	-41563	640725	2755	-417	3046	-452	-294719	-543	662	6	-41569	640827	2755	-404	3046	-438	-295180	1151	657	-19	55673	717	1483	-868	1483	-1017	-296076	2099	-677	33	-43033	-908	2562	-790	2560	-868	-295382	-1112	665	9	-43046	-858	2562	-803	2561	-827	-295882	379	658	14	55705	825	1483	-938	1484	-1067	-295592	-215	-672	64
64	2023-04-28	yes	no	10012	217	4646	-946	10001	-984	-9913	-229	-10167	345	10014	167	4646	-897	9999	-857	-150061	3512	-671	58	10012	258	4641	-885	9997	-870	-10002	-18	-10061	-375	10016	215	4647	-841	9998	-846	-10012	-827	-9991	-465	10019	187	4645	-813	10004	-850	-9964	-20	-10104	-297	20035	344	4648	-778	4579	-891	-150406	9061	-668	-20	10021	278	4648	-816	10000	-793	-9954	-377	-10113	456	10019	240	4648	-1092	10003	-858	-9931	-520	10028	-753	-41581	641152	2757	-561	1888	-579	-296486	-544	652	59	-41605	641748	2757	-538	1888	-549	-296400	-1350	657	-9	-41590	641687	2757	-542	1888	-591	-295765	226	657	-47	-41582	641321	2756	-573	1888	-524	-296777	684	664	2	21977	340	2605	-772	2590	-683	-296521	742	-671	2	-233185	-5299	432	48	432	-130	-1196	5961	96839	125904	-21480	-518	2606	-573	2591	-543	-296390	108	661	-15	43861	780	1818	-697	1807	-684	-297698	193	-670	48	-41561	640658	2756	-728	3047	-699	-294713	-328	663	12	-41555	640592	2757	-730	3047	-772	-295064	719	659	17	-41557	640627	2756	-736	3047	-745	-294971	-695	661	49	-41553	640573	2756	-720	3047	-806	-294910	-1834	665	43	55711	990	1483	-676	1482	-755	-294846	521	-675	38	-43062	-825	2561	-518	2560	-636	-295173	-1166	663	-3	-43057	-979	2560	-605	2560	-588	-295217	-1710	664	27	55710	811	1483	-659	1482	-664	-295469	725	-670	-9
69	2023-07-17	yes	no	10015	237	4641	-810	9992	-893	-9998	-668	-10052	-153	10016	243	4647	-903	9988	-806	-150038	3711	-666	69	10016	208	4638	-836	9990	-893	-9921	-487	-10139	-617	10017	107	4640	-843	9988	-816	-9942	-440	-10081	-195	10015	143	4643	-777	9995	-904	-9937	-117	-10169	-358	20025	258	4641	-761	4575	-896	-150313	9446	-671	24	10016	149	4645	-827	9993	-882	-10037	-657	-9952	596	10015	178	4632	-942	9984	-772	-9921	-598	10008	-261	-41586	641229	2757	-626	1888	-637	-296611	117	659	-45	-41590	641388	2757	-590	1889	-584	-296362	-527	661	1	-41585	641337	2756	-707	1889	-657	-296379	-265	665	-1	-41582	641199	2757	-585	1888	-595	-296343	-396	655	-8	21963	367	2608	-456	2594	-550	-297552	-639	-666	35	-233094	-5431	433	1100	433	316	-1204	4184	96788	125973	-21482	-586	2606	-308	2591	-221	-296154	-213	669	-28	43858	626	1820	-450	1809	-416	-296725	-227	-674	26	-41579	640907	2755	-573	3046	-617	-294701	-992	663	21	-41591	641099	2754	-581	3046	-591	-294692	701	661	27	-41587	641409	2755	-492	3046	-618	-294589	-110	658	-41	-41591	641077	2755	-542	3047	-609	-295033	-856	661	-29	55720	730	1480	-494	1480	-705	-295136	244	-678	-26	-43059	-1119	2555	-348	2554	-493	-294634	-687	666	-60	-43059	-1038	2555	-314	2554	-416	-294366	-849	659	-1	55718	556	1480	-500	1480	-605	-295082	414	-670	-18
71	2023-04-26	no	no	10011	147	4648	-777	9998	-809	-10009	-519	-9994	-997	10012	204	4642	-848	9993	-780	-150086	4149	-671	88	10012	173	4646	-847	10000	-904	-10032	-467	-10028	-696	10012	202	4644	-817	9995	-803	-10013	-886	-10091	383	10014	165	4639	-961	9991	-911	-9943	-675	-10095	-1218	20031	350	4643	-935	4574	-902	-149973	8862	-672	101	10013	224	4642	-974	9993	-952	-9936	-587	-10117	698	10014	286	4634	-1074	9991	-962	-9971	-712	9896	487	-41594	641485	2755	-756	1888	-847	-296376	-618	654	40	-41586	641440	2756	-816	1888	-864	-296045	-858	658	33	-41593	641521	2756	-788	1888	-836	-296605	441	656	46	-41598	641463	2756	-805	1888	-857	-295956	-1924	657	62	21970	197	2607	-680	2592	-768	-295957	-1010	-670	-25	-233025	-4045	434	1111	430	-14	-1196	3028	95981	126172	-21468	-365	2605	-615	2590	-600	-297616	795	665	12	43850	842	1818	-631	1809	-761	-296094	-828	-673	-6	-41587	641210	2745	-567	3035	-680	-293702	327	665	12	-41579	640967	2745	-628	3035	-706	-293533	1172	664	-28	-41583	641300	2746	-582	3035	-667	-293975	-695	665	-6	-41583	641092	2744	-680	3035	-638	-293739	-1015	660	-26	55686	968	1480	-625	1480	-655	-294619	21	-667	23	-43034	-820	2556	-541	2555	-603	-294751	-1273	664	7	-43034	-713	2556	-493	2553	-618	-294871	-901	659	12	55694	1071	1480	-691	1479	-626	-294786	2804	-674	11
73	2023-04-26	yes	no	10016	214	4645	-1013	9997	-1023	-9942	-641	-10183	-380	10016	204	4645	-1000	10001	-1044	-150079	3071	-672	114	10016	140	4643	-994	9999	-1046	-9924	-325	-10136	375	10017	238	4646	-1010	9996	-1036	-9936	-781	-10080	-790	10018	218	4638	-962	9996	-1026	-9927	-772	-10170	420	20027	306	4645	-959	4577	-1052	-149992	9187	-670	129	10015	100	4643	-970	10003	-1041	-10009	-495	-10065	-165	10014	211	4654	-1410	9991	-997	-9966	-540	9959	1345	-41585	641156	2754	-649	1887	-718	-295527	-431	660	-53	-41604	641614	2754	-697	1887	-607	-295915	-184	663	19	-41589	641301	2755	-730	1887	-676	-297303	40	656	21	-41591	641462	2755	-709	1887	-656	-295511	-1955	660	-11	21981	538	2607	-672	2592	-610	-296407	-1321	-675	40	-233109	-5013	432	112	433	36	-1196	5687	96288	138867	-21454	-447	2605	-655	2592	-621	-297174	-787	664	41	43864	824	1818	-662	1808	-623	-296907	-1767	-669	-15	-41571	641005	2757	-737	3048	-713	-294778	-2139	665	-20	-41577	640854	2757	-715	3047	-767	-295048	-1488	668	-49	-41564	640892	2755	-749	3047	-741	-294918	515	664	15	-41568	640636	2757	-749	3048	-758	-294680	-2111	661	-5	55703	1165	1480	-547	1480	-645	-294639	1560	-673	-18	-43048	-851	2556	-420	2555	-509	-294885	-880	664	16	-43037	-671	2556	-395	2558	-375	-294717	-997	666	28	55720	1265	1480	-534	1480	-680	-294466	704	-678	41
75	2023-04-27	yes	no	10014	112	4636	-725	9987	-840	-9893	-249	-10127	-73	10013	130	4637	-686	9984	-824	-150020	3600	-672	88	10013	123	4641	-773	9981	-627	-10011	-268	-10030	-356	10016	178	4641	-765	9978	-677	-9960	-430	-10039	168	10017	227	4644	-696	10000	-711	-9944	-99	-10121	-557	20032	343	4646	-708	4578	-776	-150517	9907	-671	170	10017	236	4645	-663	10003	-720	-9928	-67	-10137	65	10016	183	4643	-1063	10002	-722	-10019	-566	9946	234	-41596	641572	2758	-427	1889	-448	-297834	-602	655	35	-41598	641676	2759	-382	1890	-318	-296372	-373	663	-3	-41608	641719	2759	-405	1890	-393	-296337	-216	664	-95	-41601	641631	2758	-458	1890	-347	-296799	967	660	-23	21956	490	2607	-843	2593	-786	-296270	-908	-670	-57	-232930	-4441	434	556	431	-99	-1197	2275	95706	143268	-21470	-466	2608	-664	2593	-628	-296500	319	666	-6	43859	836	1820	-836	1809	-827	-295864	-1042	-669	-22	-41569	640744	2758	-739	3048	-722	-294509	-1343	661	0	-41574	641238	2758	-786	3048	-747	-295215	1028	664	49	-41576	640923	2757	-760	3048	-752	-295206	-886	664	3	-41582	641004	2757	-759	3047	-714	-295378	-839	661	22	55732	995	1480	-714	1480	-719	-295257	358	-666	2	-43056	-1019	2556	-626	2555	-758	-295139	-939	663	16	-43071	-955	2556	-497	2555	-715	-294105	-1083	657	51	55710	1109	1480	-679	1480	-745	-293984	759	-676	-90
76	2023-04-25	no	no	10017	198	4643	-763	10000	-759	-9997	-344	-10078	96	10017	251	4639	-765	9999	-746	-150146	4025	-668	86	10019	160	4645	-760	10003	-724	-9983	-579	-10067	-815	10020	252	4648	-788	10001	-775	-10008	-78	-10064	-544	10018	170	4643	-314	9995	-324	-10019	-60	-9950	6	20024	260	4644	-294	4577	-527	-150038	9781	-667	108	10016	172	4648	-284	9997	-230	-9955	230	-10063	40	10016	111	4638	-497	9992	-380	-9987	-213	9933	336	-41589	641285	2758	-508	1889	-507	-296350	1299	661	-12	-41593	641672	2757	-514	1889	-536	-297180	-341	659	53	-41586	641408	2758	-499	1890	-524	-296576	0	655	-30	-41592	641557	2758	-549	1889	-484	-297315	-452	659	44	21957	346	2608	-425	2592	-418	-296751	-2211	-671	2	-232848	-4496	435	1588	434	239	-1195	3406	97198	115722	-21468	-327	2606	-319	2591	-343	-296334	820	665	29	43847	695	1819	-504	1808	-481	-295601	184	-669	14	-41576	640766	2755	-785	3043	-890	-294405	-1615	660	-19	-41579	640877	2755	-759	3044	-834	-294872	-822	656	3	-41583	641044	2754	-814	3044	-827	-294837	-2638	657	24	-41573	640937	2753	-827	3043	-817	-294806	-53	662	-1	55713	697	1480	-758	1479	-888	-294603	1274	-666	-18	-43066	-725	2553	-669	2553	-719	-294781	-807	662	-32	-43053	-835	2554	-555	2553	-584	-294492	-1906	658	-44	55717	1166	1479	-683	1479	-705	-294977	2029	-672	-16
77	2023-04-25	no	no	10013	180	4631	-927	9976	-1083	-9968	-251	-9971	-209	10014	205	4638	-1003	9980	-1021	-149863	3216	-665	55	10014	248	4637	-1003	9981	-1060	-9949	-602	-10077	311	10014	172	4639	-1035	9976	-1013	-9977	-178	-10041	167	10019	263	4641	-779	9993	-750	-10015	-417	-10052	549	20036	429	4644	-780	4576	-814	-150307	8273	-669	39	10017	162	4641	-764	9997	-768	-9968	15	-10080	-687	10019	157	4642	-1124	9995	-776	-9997	-534	9803	1476	-41578	641628	2756	-624	1888	-714	-296532	-474	658	16	-41591	641291	2756	-595	1888	-688	-297133	0	663	-16	-41583	641504	2756	-655	1888	-723	-296395	-476	662	-63	-41584	641491	2756	-677	1888	-659	-297026	-383	657	-28	21973	478	2607	-1047	2595	-1201	-297329	336	-666	-32	-232982	-5139	434	-1575	432	-339	-1196	2364	97003	120520	-21467	-511	2607	-991	2593	-961	-296268	-17	672	44	43871	699	1820	-1096	1809	-1111	-297335	-2663	-664	-59	-41565	640619	2758	-670	3049	-690	-294868	-1786	657	-21	-41586	640943	2758	-665	3048	-745	-295175	-241	662	2	-41589	641264	2757	-683	3049	-731	-295149	962	664	-25	-41579	641031	2758	-646	3049	-649	-295017	296	660	-14	55717	1222	1481	-449	1481	-521	-295057	-125	-677	-32	-43047	-977	2556	-290	2555	-472	-294964	639	658	37	-43071	-809	2557	-247	2555	-333	-295017	-569	660	-45	55708	770	1480	-400	1480	-525	-294636	-1087	-680	41
78	2023-04-25	yes	no	10013	209	4639	-369	9986	-345	-10013	294	-9972	766	10016	119	4645	-476	9989	-408	-150107	3532	-670	127	10016	208	4634	-313	9996	-467	-10026	177	-10001	-300	10016	183	4644	-466	9993	-480	-9985	-69	-10030	-439	10019	109	4638	-888	9983	-856	-9984	-914	-10088	722	20030	397	4641	-897	4574	-890	-150030	8492	-666	31	10016	211	4639	-835	9993	-949	-10019	-890	-9977	369	10018	212	4639	-1016	9992	-942	-9967	-733	9901	-913	-41584	641196	2757	-615	1889	-637	-296362	-1267	656	-33	-41588	641477	2758	-644	1889	-667	-296159	-654	660	-44	-41585	641246	2757	-682	1888	-603	-296288	401	658	20	-41591	641323	2758	-581	1889	-660	-296517	763	657	-34	21973	474	2610	-777	2595	-684	-296894	-201	-675	22	-233072	-4389	434	431	433	136	-1196	6379	97005	123748	-21477	-507	2609	-706	2594	-633	-296417	111	663	-35	43852	729	1820	-668	1810	-717	-296271	373	-669	43	-41590	641118	2751	-450	3042	-455	-294122	-1060	659	2	-41587	641087	2751	-512	3042	-453	-294561	-1186	662	13	-41588	641341	2752	-499	3042	-453	-294100	-697	665	-35	-41579	641143	2750	-438	3042	-476	-294396	-631	666	-103	55707	1090	1482	-1034	1482	-1191	-295162	471	-679	-19	-43045	-807	2558	-818	2556	-1058	-295060	-1094	666	-28	-43040	-874	2558	-914	2557	-870	-295425	-1047	658	25	55718	874	1482	-1110	1482	-1067	-295076	-1557	-675	44
79	2023-04-27	no	no	10013	265	4643	-961	9989	-989	-9951	-1290	-10075	944	10014	170	4641	-998	9990	-1029	-150108	3739	-670	9	10016	157	4635	-874	9987	-930	-10006	-806	-10023	-378	10014	126	4644	-1124	9993	-1068	-9958	-1146	-10082	-134	10015	139	4640	-1094	9982	-1159	-9963	-837	-9994	-838	20030	413	4636	-1071	4569	-1135	-149977	8104	-667	96	10014	129	4641	-1106	9985	-1131	-9936	-590	-10120	65	10015	213	4635	-1288	9983	-1111	-9903	-675	9892	925	-41610	641777	2758	-398	1890	-427	-296476	-894	654	-19	-41611	641591	2758	-457	1889	-449	-297054	1143	656	-17	-41611	641487	2756	-488	1888	-485	-296345	-674	655	-26	-41609	641648	2757	-375	1889	-417	-296930	590	658	-56	21962	489	2608	-262	2593	-213	-296777	-508	-671	-11	-232236	-4763	433	1237	431	364	-1197	4792	96586	120030	-21467	-412	2608	-127	2592	-83	-296232	392	664	-28	43854	720	1819	-199	1810	-264	-297625	174	-668	22	-41578	641023	2754	-607	3045	-605	-294738	-913	665	16	-41586	640870	2755	-554	3045	-599	-294305	-1003	661	11	-41567	640862	2755	-574	3045	-606	-294872	-1448	664	4	-41565	641071	2755	-598	3044	-677	-294910	-490	666	-3	55722	752	1481	-950	1480	-973	-294853	-241	-677	11	-43054	-793	2557	-701	2555	-846	-294793	421	662	-18	-43074	-981	2556	-693	2555	-909	-294587	652	662	39	55727	591	1481	-926	1480	-957	-294231	-44	-676	-25
80	2023-04-24	yes	no	10013	206	4642	-1260	9991	-1196	-10027	-490	-9974	441	10013	163	4640	-1167	9994	-1205	-150137	2546	-668	71	10015	118	4644	-1257	9992	-1204	-10009	-1073	-10139	334	10015	181	4642	-1230	9993	-1249	-10038	-1061	-9921	168	10018	135	4642	-828	9994	-909	-9908	-350	-10196	838	20030	306	4647	-834	4577	-907	-149607	8442	-666	41	10017	123	4643	-833	9995	-810	-9935	-490	-10102	-807	10018	175	4634	-1037	9993	-808	-10030	-567	9901	-877	-41596	641507	2754	-507	1887	-540	-295923	-638	658	-71	-41602	641345	2754	-545	1887	-524	-296392	155	662	-50	-41592	641244	2754	-566	1887	-544	-295895	-386	656	-21	-41595	641526	2754	-564	1887	-553	-297017	-528	660	12	21966	278	2608	-721	2593	-675	-296619	-288	-667	21	-233003	-4685	433	-200	432	-77	-1195	1841	96476	117808	-21469	-404	2606	-514	2590	-630	-296019	893	669	51	43857	682	1818	-638	1809	-758	-296572	905	-671	46	-41581	641228	2758	-754	3050	-819	-294685	385	666	17	-41587	641126	2758	-776	3050	-855	-295350	-618	656	-28	-41585	640995	2758	-745	3049	-817	-295152	-1199	662	14	-41589	640846	2759	-746	3049	-845	-295140	-1748	664	50	55707	1099	1482	-469	1481	-543	-295087	546	-674	18	-43041	-1038	2556	-449	2557	-424	-295228	389	661	-6	-43057	-933	2558	-349	2556	-379	-295036	-2095	657	-5	55698	1003	1481	-459	1481	-535	-295382	971	-671	-18
81	2023-04-24	no	no	10017	171	4645	-588	9997	-646	-9994	-714	-10001	-633	10020	223	4638	-535	9998	-691	-150202	3543	-672	35	10018	185	4643	-607	9999	-636	-9972	-520	-10084	-256	10018	218	4644	-646	9998	-610	-9949	164	-10080	-332	10013	140	4649	-903	9999	-921	-10026	-482	-10046	852	20026	379	4647	-934	4579	-976	-150252	8145	-666	65	10011	153	4642	-860	10003	-991	-10019	-432	-9996	-648	10011	247	4643	-1206	10001	-979	-9913	-962	9884	44	-41605	641269	2758	-291	1889	-298	-296011	689	656	-16	-41592	641400	2758	-299	1889	-283	-296755	2431	663	12	-41594	641397	2758	-333	1889	-332	-297045	506	658	-42	-41597	641492	2758	-332	1888	-296	-297717	1205	653	-62	21968	505	2607	-475	2593	-489	-296077	-214	-674	9	-233134	-4539	432	26	432	257	-1201	3959	96391	119415	-21472	-340	2607	-400	2591	-392	-296515	164	674	-22	43878	710	1819	-481	1809	-462	-296674	-886	-671	10	-41574	640907	2756	-580	3047	-671	-295017	564	663	0	-41579	640967	2756	-627	3047	-615	-294998	-538	668	-34	-41545	640651	2755	-690	3047	-674	-294725	-617	666	0	-41577	640954	2756	-657	3047	-661	-294896	-1979	660	139	55716	1070	1481	-515	1480	-593	-295241	-599	-674	-9	-43053	-927	2556	-370	2556	-397	-294861	-206	661	56	-43050	-847	2556	-392	2556	-441	-294601	204	656	0	55710	920	1481	-507	1480	-518	-295036	-1211	-675	-88
82	2023-05-09	yes	no	10016	150	4644	-1089	9999	-1124	-10005	-825	-10049	-568	10015	121	4644	-1060	10001	-1103	-149838	2589	-668	119	10016	149	4648	-1162	9996	-1049	-9972	-468	-10071	158	10016	144	4648	-1032	9999	-1088	-9995	-1046	-10076	324	10019	194	4647	-732	9989	-741	-10028	-853	-9966	-246	20018	261	4644	-701	4575	-746	-150013	9074	-668	73	10018	132	4642	-717	9986	-719	-10044	-308	-9915	315	10018	164	4646	-1026	9989	-711	-9927	12	9893	-1177	-41611	641624	2758	-628	1888	-672	-296631	-2071	662	144	-41603	641312	2757	-645	1888	-687	-297195	-1412	652	-4	-41606	641095	2757	-563	1888	-690	-297264	713	651	34	-41615	641184	2757	-659	1889	-691	-296347	391	663	20	21979	151	2607	-444	2592	-459	-296299	-153	-673	25	-232956	-5677	432	699	431	239	-1195	3276	96715	119162	-21487	-432	2604	-505	2590	-430	-296126	870	668	35	43873	368	1820	-543	1808	-544	-297091	-883	-666	-70	-41599	641166	2754	-573	3045	-568	-294967	-717	664	-20	-41603	641234	2754	-520	3045	-504	-294880	-528	666	-15	-41605	641134	2754	-491	3045	-447	-294733	-442	659	-47	-41593	641235	2754	-505	3045	-536	-294496	-944	665	36	55722	711	1483	-492	1482	-482	-295097	148	-677	33	-43063	-795	2560	-290	2558	-381	-295046	-632	662	32	-43030	-1148	2560	-233	2558	-230	-295121	-2252	667	-31	55722	608	1482	-434	1482	-449	-295608	-614	-669	18
86	2023-07-26	yes	no	10016	185	4645	-515	9997	-539	-9982	-578	-10064	467	10017	224	4640	-441	10005	-624	-149952	4026	-670	78	10016	191	4645	-478	10006	-596	-9985	95	-10041	331	10019	98	4649	-518	9995	-525	-9994	-212	-9972	-288	10010	185	4640	-776	9996	-897	-10019	-111	-9968	-842	20022	363	4641	-840	4576	-923	-150129	8464	-666	8	10009	204	4641	-837	10000	-947	-10007	-367	-10050	-851	10010	192	4647	-1142	9990	-817	-9936	-652	9964	-173	-41580	641454	2759	-663	1889	-701	-296737	-461	660	-9	-41580	641388	2758	-697	1889	-695	-295849	-1136	660	-70	-41585	641361	2758	-743	1889	-684	-297416	96	658	-113	-41580	641218	2758	-631	1889	-708	-297278	-730	658	-6	21973	380	2605	-235	2592	-269	-296890	930	-674	44	-233170	-4929	432	489	432	502	-1199	6365	96534	121613	-21472	-298	2604	-291	2591	-156	-296780	2361	669	-28	43865	862	1818	-350	1809	-363	-296433	731	-673	-15	-41569	640821	2756	-467	3047	-550	-294870	-370	667	36	-41571	640785	2757	-490	3048	-507	-294847	356	659	8	-41572	641193	2757	-485	3048	-502	-294760	834	664	-48	-41560	640672	2757	-486	3047	-507	-294909	2352	670	41	55695	984	1480	-747	1480	-897	-295061	-822	-670	29	-43055	-538	2557	-553	2556	-774	-294639	-1322	660	-16	-43063	-649	2556	-642	2554	-828	-294693	-1416	662	-44	55688	1049	1481	-806	1480	-859	-294762	778	-671	27
82	2023-07-18	yes	no	10013	184	4645	-1083	10000	-1148	-10004	-727	-10041	-559	10012	158	4647	-1107	9993	-1072	-150088	2542	-667	119	10012	187	4643	-1109	9993	-1032	-9984	-500	-10064	157	10013	182	4643	-998	9994	-1084	-10003	-1035	-10070	325	10015	238	4639	-664	9986	-692	-10018	-745	-9959	-239	20023	304	4642	-722	4575	-796	-150807	8886	-668	73	10015	163	4638	-660	9994	-792	-10033	-132	-9907	313	10016	183	4644	-1082	9993	-759	-9950	173	9890	-1175	-41593	641589	2758	-681	1889	-685	-296729	-2037	662	145	-41585	641277	2758	-652	1889	-730	-297181	-1408	651	-3	-41588	641053	2758	-627	1889	-705	-297452	552	651	36	-41597	641145	2758	-697	1890	-711	-296512	259	662	21	21979	271	2607	-470	2592	-520	-296457	-60	-672	26	-232803	-4306	432	582	431	121	-1197	3525	96677	119872	-21473	-303	2606	-472	2592	-462	-296223	765	668	34	43861	650	1820	-614	1808	-514	-297183	-743	-666	-67	-41580	641117	2756	-555	3046	-628	-295089	-899	664	-20	-41584	641182	2756	-607	3046	-623	-295031	-571	666	-13	-41586	641080	2755	-556	3046	-572	-294924	-467	659	-45	-41573	641187	2755	-562	3046	-601	-294673	-1098	665	36	55704	1037	1483	-561	1482	-569	-295206	362	-677	33	-43043	-540	2560	-333	2559	-414	-295074	-626	662	31	-43011	-894	2559	-329	2558	-383	-295161	-2215	666	-32	55704	926	1482	-430	1482	-531	-295697	-432	-669	17